## Slide 1
Alzheimer's Early-Risk Triage
The system fuses clinical, MRI and EEG evidence into one explainable risk score. It gives this score before a clinic orders imaging.
Clinical model
MRI 2D + 3D
EEG
Fusion
LLM layer
Zow Ormazabal · TAO Digital Solutions
Proof of capability for Siemens Digital Health / SHS AI
Notes: Condensed technical walkthrough. The deck covers the mechanism of each modality, the integration method, and the place of the tool in a clinical workflow.

## Slide 2
FRAMING
The problem, and the constraints that shaped the design
The clinical problem
Imaging is the most expensive step in the diagnostic path, and its capacity is limited. Every scan without prior evidence displaces a patient with higher priority.
Diagnosis usually happens after the symptoms are visible. The data that can show the risk earlier stays unused in the chart.
Existing risk tools are black boxes. Clinicians hesitate to act on these tools, and certification across a product line is difficult.
The engineering constraints
Target leakage: the Clinical Dementia Rating is not a predictor of the diagnosis. It is the diagnosis. Some published approaches still train on it.
Data availability: privacy rules and data-use terms restrict access to complete medical datasets.
No paired multimodal data: no public dataset pairs tabular, imaging and EEG records for one patient under one label.
Design decision: the model does not use the Clinical Dementia Rating as a predictor. A tool that screens patients before diagnosis cannot train on the diagnosis. This is why the clinical metrics are lower than published baselines that contain leakage.
The rest of this deck follows from these three constraints.
Notes: Start with the leakage point. It is the most credible item in the deck for a technical reviewer.

## Slide 3
SYSTEM ARCHITECTURE
Three independent models, one fused output
Each model scores its own modality and stays open to inspection. Fusion happens once, at the end, and never inside a model.
Notes: Left to right: the interface sends data to three models, and the three models converge into the pooled score. The footer names every source dataset.

## Slide 4
MECHANISM 1 OF 3
Clinical risk model — the pre-imaging signal
9 tabular features
›
Mean imputation
›
Standardization
›
Logistic regression
›
score = P(at risk)
What goes in
Demographics: Age, Sex, Education, SES
Cognitive: MMSE
Structural summaries: nWBV, eTIV, ASF
Visit history: Visit no., MR Delay
The clinic already holds this data. The score needs no new test.
Why logistic regression
The coefficients are the explanation. No surrogate model stands between the score and its reason.
The model is monotone and open to inspection. A reviewer can read it, version it and certify it.
A gradient-boosted model gives a small accuracy increase on 82 rows. It also removes the audit path.
What comes out
score — the calibrated probability of risk, from the positive class
label — the severity band, Normal or At-risk
drivers — top_drivers() ranks coefficient × standardized value. The app shows each driver as “raises risk” or “lowers risk”.
One integration seam
predict({"Age": 75, "EDUC": 12, "SES": 3, "MMSE": 27, "nWBV": 0.75, ...}) → {"score": 0.12, "label": "Normal", "drivers": […]}
Notes: MRI, EEG and fusion use the same shape of call. A user interface, a notebook or a hospital system calls one function.

## Slide 5
MECHANISM 2 OF 3
MRI severity model — a second opinion you can examine
Brain slice / volume
›
ResNet18 (frozen backbone, retrained head)
›
Softmax over severity
›
Grad-CAM attribution
1
2D slice
The model classifies one axial slice directly. The model was trained on these slices, and every MRI metric in this deck comes from this pathway.
2
3D volume
The app pools central axial slices from a NIfTI volume. The same 2D model scores them, and a rotatable render shows the attention.
3
2D + 3D combined
The app combines the two reads into one call. It also shows if the two reads agree, so the clinician gets one number.
Explainability is part of the model
Grad-CAM gives pixel attribution for the winning class. The app puts this attribution on the scan.
The radiologist compares the model result with the real anatomy, and does not have to trust a label alone.
Scored on real imaging data
The data is about 23,000 slices from about 94 subjects (Kaggle imagesoasis mirror). The split is 70/15/15 by patient.
score = 1 − P(Non Demented). The score enters fusion as a probability, and not as a label.
The split is by patient. Slices from one brain never go into both the training set and the test set.
Notes: State clearly that the 3D pathway is a documented v1 approximation, and not a validated volumetric classifier. The limitations slide covers this.

## Slide 6
MECHANISM 3 OF 3
EEG model — a third signal, independent of anatomy
Resting-state recording
›
Relative band power + 2 slowing ratios
›
Standardization
›
Logistic regression
›
score = P(AD pattern)
The feature set
The app extracts relative power in five bands from the raw recording, per channel. The bands are delta, theta, alpha, beta and gamma.
Two slowing ratios show the Alzheimer's signature. Slow-wave power increases relative to alpha power.
Every feature has a physiological name, so each input has a meaning that a neurologist already uses.
What the clinician gets back
The app shows the contribution of each band to the score. The result decomposes by frequency, and does not arrive as one gauge.
The app plots relative band power against a healthy cohort and an AD cohort.
A scalp topography map shows where the slowing is strongest. The clinician gets a channel-by-channel picture, and not one number.
The model uses ds004504 (OpenNeuro / AHEPA resting-state EEG, n = 65). These are real recordings, and not synthetic data. EEG holds information that the chart and the scan do not contain.
Notes: The value of EEG is independence. It fails in a different way from imaging, so agreement between the two is real corroboration.

## Slide 7
THE FUSION LAYER
Integration — one prognosis from three opinions
Logarithmic opinion pool — a weighted average in log-odds space
logit(P_fused) = ( Σ rᵢ · logit(pᵢ) ) / ( Σ rᵢ ) P_fused = sigmoid( logit(P_fused) )
1
No invented anchors
An earlier draft used fixed linear weights and invented severity midpoints. These constants had no basis in data. The pool uses the posterior of each modality directly.
2
Confidence does the weighting
In log-odds space, a modality near p ≈ 0.5 has a logit near 0 and moves the result very little. A confident modality moves the pooled result strongly. The rank comes from the evidence, and not from a fixed constant.
3
One calibration parameter
The reliability weights rᵢ are 1.0 for every modality. We do not tune them, because no paired multimodal validation set exists. An increase to one weight is an assumption, and not a result.
One modality only
With one modality present, P_fused is equal to the probability of that modality. This is by design, so the Overview tile still has a meaning after one assessment.
Standard, citable method
Genest & Zidek, Statistical Science (1986)
Kittler et al., IEEE TPAMI (1998)
Notes: The key point is not that pooling is clever. The point is that we did not invent parameters that we cannot fit.

## Slide 8
EXPLAINABILITY ON TOP
The narrative layer — it drafts, it does not decide
1
Radiology-style report
A vision LLM reads the slice. It writes structured IMPRESSION and FINDINGS text next to the Grad-CAM overlay.
2
Plain-language EEG readout
The app translates the band-power result into the sentence that a neurologist writes. It shows no table of coefficients.
3
Cross-modality conclusions note
One clinical note combines the clinical, MRI and EEG results into the case summary.
4
Live evidence retrieval
The app pulls cited results from PubMed E-utilities and ClinicalTrials.gov v2 for this case.
5
Case-grounded Q&A
The clinician asks free-form questions. The app answers from the results of this patient only.
Guardrail: the LLM layer removes the work around a decision, but it does not make the decision. Every generated panel is traceable to the model output that it describes. With no API key, the panels show an error and invent no content.
Notes: Models: HuggingFace gemma-3-27b-it for vision, and Groq-hosted LLMs for text. Both are hosted services behind one client module.

## Slide 9
CLINICAL FIT
In the workflow — one patient visit, four screens
1 · Before the scan
Chart data on file gives the score and the top contributing factors. The referral question has an answer before the clinic books imaging.
2 · When a scan arrives
The model classifies the MRI. The app puts the attention map next to the scan, so the clinician can examine the read.
3 · When EEG arrives
An independent signal agrees or disagrees with the first two. The app shows a disagreement and does not average it away.
4 · At the decision
The clinician gets one fused prognosis, a drafted note, and cited guidelines and open trials.
SCREEN CAPTURE
Clinical risk page
Risk score and severity chip, MMSE against last visit, Top contributing factors
SCREEN CAPTURE
MRI records — 2D slice
Dementia confirmation metric, selected slice next to Grad-CAM, radiology report summary
SCREEN CAPTURE
Overview — integrated prognosis
Fused score card, “How this was combined” expander, clinical conclusions note, cited evidence
Four tabs around one patient context: Clinical risk · MRI records · EEG records · Overview.
Notes: The screenshot frames are placeholders. Replace them with current captures before the presentation.

## Slide 10
CLINICAL FIT, CONTINUED
Same pipeline, panel scale
SCREEN CAPTURE
Cohort page
Batch results table, fusion score distribution by ground-truth group, prediction against ground truth, and the clinical-against-fused disagreement view
One batch run scores a complete panel. The clinical, MRI and EEG results of every patient go into one sortable table.
The app groups patients into phenotype clusters from the clinical profile. A practice sees the complete caseload, and not only the visit of today.
The app plots the fused score against the known outcome of each patient. This is the nearest validation view that a clinic can run on its own data.
The app marks the cases where the clinical impression and the fused score disagree. These patients need a second review.
The app can highlight one patient against the cluster and against the wider population.
This page makes the tool a population-health tool, and not only a per-visit tool. It is the only page with no live LLM call, so it runs immediately after a batch is in the cache.
Notes: This answers the question about use beyond one clinician.

## Slide 11
VALIDATION
Where the models stand
Model | Algorithm | AUROC | AUPRC | Sens. | Spec. | Evaluation
Clinical | Logistic regression (9 features) | 0.73 | 0.64 | 0.47 | 0.84 | 5-fold CV, out-of-fold
MRI — 2D slice, preliminary | ResNet18, frozen backbone + retrained head | 0.91 | 0.89 | 0.70 | 0.91 | Held-out patients, 70/15/15
EEG | Logistic regression on band-power features | 0.82 | 0.83 | 0.75 | 0.76 | 5-fold CV, out-of-fold
Integrated prognosis | Log-odds opinion pool (no trained parameters) | — | — | — | — | Not separately benchmarked
Limits of these numbers
The clinical model uses a synthetic OASIS-shaped sample of 82 rows. The numbers show that the pipeline works, and are not a real-world benchmark.
The MRI and EEG numbers come from real data (about 23,000 slices, and n = 65 recordings). The MRI row is the 2D slice pathway only.
Why fusion has no row
No paired multimodal ground truth exists, so validation of a fused score is not possible.
An accuracy figure for the fused score is not available. The row stays empty until the data exists.
The 3D pathway has no row either. It reuses the 2D model, and it has no separate benchmark.
The metrics will change after we get access to larger datasets. The pipeline, the splits and the evaluation harness transfer without change.
Notes: Do not oversell the clinical row. An honest label for that row carries the credibility of the whole deck.

## Slide 12
KNOWN LIMITS
What this is not, and what comes next
Synthetic patient pairing
The three source datasets share no real patients. The patient database links them by demographic match. This is a valid engineering fixture for the fused pathway, and not a co-registered clinical cohort.
Upgrade path: Paired acquisition, or a partner dataset that holds all three modalities per patient.
3D pathway is a documented v1
The 3D read applies the 2D model to pooled central axial slices. It has no separate benchmark, so every MRI metric in this deck is the 2D pathway.
Upgrade path: A true volumetric model (MONAI / TorchIO) with its own evaluation, after volumetric training data is available.
Fusion weights are untuned
rᵢ is 1.0 for every modality, and per-modality calibration is absent. An overconfident MRI softmax goes directly into the fused score.
Upgrade path: Fit rᵢ (or a stacking meta-model) and add temperature scaling per modality, after a paired labeled set exists.
Modalities treated as independent
The pool assumes conditional independence, given the disease state. All three signals reflect the same pathology, so the pool is a simplification and not a joint model.
Upgrade path: A trained fusion classifier. The pool then becomes the baseline for comparison.
Out of scope for this MVP: auth, containerization, model registry, CI, and a FastAPI service. The integration seam is in place, and the wrapper is a small next step.
Notes: Name the limits before a reviewer finds them. This is what makes the other numbers believable.

## Slide 13
What this demonstrates
1
Three modalities, three mechanisms, no black box
Coefficient rankings for clinical, Grad-CAM attribution for MRI, and band decomposition for EEG. Every score is traceable to its source model and its input features.
2
Integration without invented parameters
A log-odds opinion pool gives the most confident modality the strongest effect. One reliability weight stays untuned, and the method to fit it is documented.
3
It fits where the decision happens
Triage before imaging, corroboration during the visit, a drafted note with cited evidence, and a panel-level view. The design follows the four screens that a clinician already uses.
More data will improve the models. The architecture stays: independent models, open to inspection, and fused only at the end.
Notes: Close here. Offer the 2-minute recorded demo as the next step.